TEMPORARY TENT PERMIT REQUIREMENTS:

• Temporary tent permit applications must be submitted 2 weeks prior to the proposed erection of the proposed tent.

• All information in the check list below must be submitted. Incomplete application may cause a delay in issuing a permit prior to the proposed event.

• The owner of the property must be the applicant.

• A tent permit shall not be issued for the erection of a tent on any property that has an existing violation or open permit.

• Issuance of a temporary tent permit is for use by the owner of the property.

• No temporary tent in a residential district may be used for a business use unless allowed in that district.

• Temporary tents may only be used for the purpose stated in the permit.

• A temporary tent permit does not authorize the applicant to have a special event.

• A temporary tent permit does not authorize any activity or use not consistent with permitted uses of the property for that district.

• Temporary tents with occupancy of over 300 requires a permit from New York State prior to issuance of the tent permit.

• All temporary tents shall be erected in compliance with Chapter 31, section 3104.2 of the Fire Code of the State of New York 2020 edition.

• No proposed temporary tent can be occupied without inspection from the Building Department.

TEMPORARY TENT CHECK LIST

_____ 1) Building Permit Application

_____ 2) Provide a copy of the tent company’s general liability insurance with the Town of Plattekill listed as certificate holder and additionally insured.

_____ 3) Provide a copy of the tent company’s Workers Compensation certificate with the Town of Plattekill listed as certificate holder.

_____ 4) Provide date of tent use (From/Until).

_____ 5) Provide the size of tent (Length and Width).

_____ 6) Provide a survey of property with tent location marked

_____ 7) Provide a floor plan of all proposed tents showing;

_____ a) Tent egress shall be in accordance with table 3103.12.2 of the Fire Code of New York State 2020 addition

_____ b) Proper exiting provisions to a public way (legal open space) All seating, tables, aisle widths, exiting, fire extinguishers, emergency lights, lighting, electrical equipment etc.

_____ c) Provide the capacity and number of exits for each proposed tent

_____ d) Exit and emergency light details (required for all proposed tents with side panels or if the proposed event is scheduled after dark).

_____ e) location of required “No Smoking Signs”

_____ f) Location of required Fire Extinguisher (minimum 2 and one at every required exit)

____ 8) Provide manufactures structural and frame details with licensed professional certification

____ 9) Provide manufactures wind load designs certified by a licensed professional

____ 10) Provide the tent Installation instruction stamped by a licensed professional

____ 11) Provide Fire Rating Affidavit from the tent manufacture.

____ 12) Provide a drawing from a licensed professional for any constructed platforms or runways.

____ 13) Provide location of heating appliances and fuel type (if proposed)

____ 14) Provide location of all temporary fuel equipment (any fuel storage shall be in accordance with Chapter 61 and with the Fuel Gas Code of New York State.

____ 15) No cooking shall be conducted under a tent used for assembly (sitting or standing)

____ 16) Provide vehicle impact details for all tents proposed in parking lots and driveways and minimum 12 foot clearance around tent free of guide wires and stakes

____ 17) Temporary Generator

_____a) Provide a survey of the property with the proposed generator location (the generator must be a minimum of 20’ from any tent)

____ b) All electrical supplies shall be ground fault interrupted (GFI) at the source

____ c) Provide an electrical permit from a Ulster County licensed electrician for any proposed Generator

____ d) An electrical permit is required if any lighting, equipment, etc is hard wired.

____ e) Provide the decibel level rating of the proposed generator

____18) Submit the permit fee:

____ Application Fee $100

___19) Owner to sign the building permit application and temporary tent check list and bring to the building department 2 weeks prior to the erection of the proposed tent with 2 paper copies along with all requested items in the checklist.

PROPERTY OWNER CONSENT

STATE OF NEW YORK COUNTY OF ULSTER

_________________________________being duly sworn deposed and says that he/she is the legal owner, agent, member, or authorized officer of the corporation, owning the property listed in this application , and aware of the details of the gathering and activities described, And; Further attest that I have read the appropriate section of the Zoning, and Code of the Town of Plattekill and that the proposed activities described are in compliance with both, And; I also attest that I have read Chapter 31, section 3104.2 and all references of the Fire Code of the State of New York 2020 edition and that all proposed construction and activities described herein are in compliance with same.

A FALSE STATEMENT MADE HEREIN IS PUNISHABLE AS A CLASS “A” MISDEMEANOR PURSUANT TO SECTION 210.45 OF THE PENAL LAW OF THE STATE OF NEW YORK

Signature of property owner, member or authorized corporate officer __________________

dated _____

Sworn to me this _____ day of ______, 20___’ ______________________________________ Notary Public All tents shall be subject to an inspection and approval by the Building Department prior to the event for which the tent is to be used. The inspection hall be scheduled through the Building Department during regular business hours. The inspection shall confirm that the tent is compliant with all regulation of the Fire Code of the State of New York including but not limited to the items listed above